The City of _________________________________

CROSS CONNECTION CONTROL 
TESTING AND INSPECTION REPORT

Mailing Address:  The City of _____________________ 
Address: ______________________________________ 
Postal Code: ___________________________________

ADDRESS OF DEVICE	OCCUPANT	CONTACT	TELEPHONE NUMBER

OWNER	ADDRESS OF OWNER	POSTAL CODE	TELEPHONE NUMBER

SERIAL NUMBER	MAKE	MODEL	SIZE	INSTALL DATE	BUILDING

YYYY	MM	DD

INSTALLED ON WHAT SYSTEM	LOCATION OF ASSEMBLY (ie. ROOM NUMBER)

DOMESTIC	FIRE	IRRIGATION	OTHER ___________________________________________

TESTER'S AWWA NUMBER	TESTER'S EQUIPMENT NUMBER	TESTER'S NAME	TELEPHONE NUMBER

BUSINESS NAME

TYPE OF TEST

INITIAL	ANNUAL	REPAIR

RP / RPF ASSEMBLY

BUSINESS ADDRESS

TYPE OF DEVICE

REPLACES SERIAL # ___________________________________	RP	DCVA

CHECK VALVE 2	CHECK VALVE 1

DCVA, DCVAF, SCVAF

LEAKED	LEAKED

POSTAL CODE

PVB	SRPVB	RPF

PVB / SRPVB ASSEMBLY

FAX NUMBER

DCVAF	SCVAF

SHUT OFF VALVES

RELIEF VALVE FAILED TO OPEN	CLOSED TIGHT	CLOSED TIGHT	CHECK VALVE 1	CHECK VALVE 2	AIR INLET VALVE	CHECK VALVE	#1	#2

T

E	PRESSURE DIFFERENTIAL ACROSS 1st CHECK VALVE (no flow)

S

T	OPENED, OPENING POINT OF RELIEF VALVE (2 psi or greater)

BUFFER (3 psi or greater)	A - B = C

A________________ Psi kPa

- B________________ Psi kPa 
= C________________ Psi kPa

LEAKED	LEAKED	FAILED TO OPEN	LEAKED	LEAKED

CLOSED TIGHT	CLOSED TIGHT	OPENED	CLOSED TIGHT	CLOSED

kPa

STATIC INLET LINE PRESSURE AT TIME OF TEST _______________________________ Psi

TEST RESULT	PASSED

YYYY	MM	DD

FAILED	TEST DATE

R 
E 
P 
A

I 
R

CHECK APPLICABLE VALVE(S) 
CHECK APPLICABLE REPAIR

If the device fails the initial test for any reason, complete the sections below, noting the repairs and retest results.

RELIEF VALVE	CHECK VALVE #1	CHECK VALVE #2	AIR INLET VALVE 
CLEANED; REPLACED: 	DISC 	SPRING 	DIAPHRAGM 	SEAT 	GUIDE 	O-RINGS

SHUT OFF VALVE 
	POPPET 	REPAIR KIT

R

RP / RPF ASSEMBLY

RELIEF VALVE FAILED TO OPEN

CHECK VALVE 2	CHECK VALVE 1

LEAKED	LEAKED 
CLOSED TIGHT 	CLOSED TIGHT

DCVA, DCVAF, SCVAF 
CHECK VALVE 1 	CHECK VALVE 2

PVB / SRPVB ASSEMBLY	SHUT OFF VALVES 
AIR INLET VALVE 	CHECK VALVE 	#1 	#2

E

T	PRESSURE DIFFERENTIAL ACROSS 1st CHECK VALVE (no flow)

E

S	OPENED, OPENING POINT OF RELIEF VALVE (2 psi or greater)

T

BUFFER (3 psi or greater)	A - B = C

A________________ Psi kPa

- B________________ Psi kPa 
= C________________ Psi kPa

LEAKED	LEAKED

CLOSED TIGHT	CLOSED TIGHT

FAILED TO OPEN	LEAKED	LEAKED

OPENED	CLOSED TIGHT	CLOSED

kPa

STATIC INLET LINE PRESSURE AT TIME OF TEST _______________________________ Psi

RETEST RESULT	PASSED

YYYY	MM	DD

FAILED	RETEST DATE

I certify the above device has been tested in accordance with The City of ________________________________________ Bylaw ______________________________________.

SIGNATURE OF CERTIFIED TESTER	DATE	SIGNATURE OF OWNER / TENANT	DATE

YYYY	MM	DD	YYYY	MM	DD

REMARKS/COMMENTS

FOR OFFICE 
	USE ONLY

TESTING FREQUENCY

SEMI-ANNUAL	ANNUAL

BI-ANNUAL	TRI-ANNUAL

INSPECTOR'S SIGNATURE	DATE

YYYY	MM	DD

DISTRIBUTION:	CANARY - Certified Tester	The personal information on this form is collected under the authority of the Freedom of Information and Protection of Privacy Act, Section 33(c), and is

WHITE - Cross Connection Control Officer	PINK - Occupant or Owner	used solely for the purpose of information to record test details and results. For additional information, contact